## Sheet1
O. Reg. 243/07 - Drinking Water Fixture Inventory
Instructions: - use this template (or one like it) to have all the key regulatory information about each drinking water tap and fountain in your facility at your fingertips - start by creating an inventory of all drinking water taps and fountains that are required to be sampled and flushed under O. Reg. 243/07 - next, assign a unique fixture number to each drinking water tap and fountain that can be used for all regulatory activities related to each individual fixture (examples shown below) - use this template to: • confirm that every drinking water tap and fountain in your facility has been sampled at least once by required timelines. These are: • child care centres and schools with a primary division: at least 1/3 of samples must be done in each of 2017 and 2018, with the remaining samples completed by January 1, 2020 • other schools: by January 1, 2022 • document your most recent standing and flushing sample results and if there was any exceedence to the Ontario Drinking Water Quality Standard (ODQWS) for lead (examples shown below) • document the frequency and duration each fixture must be flushed (dependent on your sampling results) • keep track of any special corrective actions taken at a drinking water fixture (e.g. installation of filter device, fixture replacement or removal, other) - a water inspector from the Ministry of the Environment and Climate Change (MOECC) can ask for a record of your sampling and flushing activities at any time to confirm your facility is meeting compliance with O. Reg. 243/07
General Information |  |  |  | School |  |  |  | Private School |  |  | Child Care Centre
Facility Type:
Drinking Water System Number (provided by MOECC):
School Board/Organization (if applicable):
Facility Name:
Fixture Information |  |  |  | Sampling Information |  |  |  | Flushing Information |  | Corrective Actions
Fixture Number | Fixture Type | Location | End of Branch Tap | Last Sample Date | Sample Results |  | Exceedance | Frequency | Duration | Filter | Fixture removal or replacement | Other
Unique identifier assigned to individual drinking water taps and fountains designed to assist with ongoing flushing and sampling requirements | Tap / Fountain | Physical location of the fixture, e.g., kitchen, hallway, or lunch room | Is this fixture at the end of a branch of plumbing? Y / N | Date when the last sample was collected from this location (DD/MM/YYY) | Enter the 'Standing' sample test result value from the last sample collected (in µg/L) | Enter the 'Flushed' sample test result from the last sample collected (in µg/L) | Was the sample result an exceedance of the ODWQS (Standing or Flushed) Y/N | Enter the frequency at which this fixture is required to be flushed (daily, weekly, exempt) Is dependent on sampling results | Enter the duration of the flushing that is conducted at this location (5 mins, 10 seconds) Is dependent on sampling results and if end of branch tap | If fixture has an NSF filter, enter date the filter was installed (DD/MM/YYYY) | If fixture has been removed or replaced, enter date this action happened | Enter any other corrective actions you would like to track; include description and date action was completed
T001-1 | Tap | Kitchen | Y | 2017-05-01 | 12 | 4 | Y | Daily | 5 mins | N/a | N/a | Flush daily until May 1, 2019
T002-1 | Tap | Kitchen | N | 2016-05-01 | 5 | 2 | N | Weekly | 10 sec | N/a | N/a
F001-1 | Fountain | 1st fl hallway | N |  |  |  |  | Weekly | 10 sec | N/a | N/a
F002-1 | Fountain | 1st fl hallway | N |  |  |  |  | Weekly | 10 sec | N/a | N/a
F003-2 | Fountain | 2nd fl hallway | N |  |  |  |  | Weekly | 10 sec | N/a | N/a
F004-2 | Fountain | 2nd fl hallway | N |  |  |  |  | Weekly | 10 sec | N/a | N/a
This ID number begins with a T to indicate it's a tap. The 001 is the number assigned to that fixture. The -1 suffix indicates 1st floor.
This ID number begins with an F to indicate fountain. The 002 is the number assigned to that fixture. The -1 suffix indicates 1st floor.